## Slide 1: SVA measurement for CHIBA Campaign 2017
Data was taken at 2017-07-13
Hiroshi OKAMOTO

## Slide 2: Condition
Take1 10:28-10:57 Clear sky.
Take2 11:43-12:12 Clear sky.
Take3 13:48-14:17 Around 14:01 clouds covered the sun.
Take4 15:57-16:26 Mottled clouds covered the sun.

## Slide 3: Result
WL(nm) | Take1 | Take2 | Take3 | Take4
315 | 2.435E-04 | 2.364E-04 | 2.373E-04 | 2.430E-04
340 | 2.418E-04 | 2.326E-04 | 2.307E-04 | 2.397E-04
380 | 2.422E-04 | 2.342E-04 | 2.324E-04 | 2.386E-04
400 | 2.399E-04 | 2.350E-04 | 2.320E-04 | 2.375E-04
500 | 2.379E-04 | 2.337E-04 | 2.358E-04 | 3.802E-04
675 | 2.338E-04 | 2.280E-04 | 2.347E-04 | 2.371E-04
870 | 2.385E-04 | 2.329E-04 | 2.353E-04 | 2.199E-04
940 | 2.425E-04 | 2.398E-04 | 2.347E-04 | 4.243E-04
1020 | 2.416E-04 | 2.397E-04 | 2.044E-04 | 2.215E-04
1627 | 2.065E-04 | 2.051E-04 | 2.051E-04 | 2.495E-04
2200 | 2.054E-04 | 1.993E-04 | 2.027E-04 | 1.511E-04
Values in Orange BG are not for use. Clouds covered sun.

## Slide 4: Response Functions of SW
Take2
Take1
Take1 and Take2. Clear Sky.

## Slide 5: Response Functions of SW
Take3. During measurement, Clouds passed or covered the sun.
Linier scale
Log scale

## Slide 6: Response Functions of SW
Take4. Mottled clouds covered the sun.
Linier scale
Log scale

## Slide 7: Comparison of Response Function
Response Functions at 500nm.
Take4 was interfered by clouds. Take1, Take2 and Take3 are similar. Also SVA values are 2.379E-04, 2.337E-04 and 2.358E-04. There are with in about 2% difference. But Take3 was interfered by clouds.
Linier scale
Log scale

## Slide 8: SVA measurement for CHIBA Campaign 2017
Data was taken at 2017-07-14
Hiroshi OKAMOTO

## Slide 9: Condition
Take1 11:08-11:37 Clear sky.
Only 1 measurement.

## Slide 10: Result
WL(nm) | Take1
315 | 2.435E-04
340 | 2.418E-04
380 | 2.422E-04
400 | 2.399E-04
500 | 2.379E-04
675 | 2.338E-04
870 | 2.385E-04
940 | 2.425E-04
1020 | 2.416E-04
1627 | 2.065E-04
2200 | 2.054E-04

## Slide 11: Response Functions of SW
Linier scale
Log scale

## Slide 12: Response Functions of LW
Linier scale
Log scale

## Slide 13: SVA measurement for CHIBA Campaign 2017
Data was taken at 2017-07-16
Hiroshi OKAMOTO

## Slide 14: Condition
Take1 10:05-10:34
Automatic scheduled measurement.
According to Global Solar
Irradiance, there might
be some clouds.

## Slide 15: Result
WL(nm) | Take1
315 | 2.451E-04
340 | 2.393E-04
380 | 2.413E-04
400 | 2.466E-04
500 | 2.392E-04
675 | 2.383E-04
870 | 2.437E-04
940 | 2.442E-04
1020 | 2.491E-04
1627 | 2.224E-04
2200 | 2.174E-04

## Slide 16: Response Functions of SW
Linier scale
Log scale

## Slide 17: Response Functions of LW
Linier scale
Log scale

## Slide 18: SVA measurement for CHIBA Campaign 2017
Data was taken at 2017-07-18 and 2017-07-19
Hiroshi OKAMOTO

## Slide 19: Condition
Cloudy days.
2017-07-18 11:15-11:44
  Mottled clouds passed the sun.
2017-07-18 11:48-12:17
  Clouds covered the sun.
Mottled

## Slide 20: Result
WL(nm) | 2017-07-18 | 2017-07-19
315 | 2.362E-04 | 2.177E-03
340 | 2.820E-04 | 6.584E-04
380 | 2.220E-04 | 1.383E-04
400 | 2.593E-04 | 1.322E-02
500 | 3.472E-04 | 2.237E-03
675 | 2.732E-04 | 1.511E-03
870 | 1.846E-04 | 1.264E-03
940 | 2.887E-04 | 4.240E-04
1020 | 2.448E-04 | 2.308E-04
1627 | 5.146E-04 | 5.816E-03
2200 | 1.939E-04 | 4.689E-03
Almost measurements are interfered by Clouds.

## Slide 21: Response Functions of SW
Linier scale
Log scale

## Slide 22: Response Functions of LW
Log scale
Linier scale

## Slide 23: SVA measurement for CHIBA Campaign 2017
Data was taken at 2017-07-20
Hiroshi OKAMOTO

## Slide 24: Condition
Take1 10:30-10:59 Slightly cloudy weather.
Take2 14:26-14:51 Mottled clouds around the sun.
Take3 17:20-17:49 Clear sky.

## Slide 25: Result
WL(nm) | Take1 | Take2 | Take3
315 | 2.416E-04 | 4.370E-04 | 2.454E-04
340 | 2.392E-04 | 1.641E-04 | 2.426E-04
380 | 2.429E-04 | 2.219E-04 | 2.410E-04
400 | 2.412E-04 | 4.819E-04 | 2.396E-04
500 | 2.395E-04 | 1.487E-04 | 2.369E-04
675 | 2.390E-04 | 6.497E-05 | 2.351E-04
870 | 2.400E-04 | 1.180E-04 | 2.366E-04
940 | 2.412E-04 | 1.867E-04 | 2.428E-04
1020 | 2.416E-04 | 1.713E-04 | 2.423E-04
1627 | 1.869E-04 | 1.552E-04 | 2.063E-04
2200 | 1.965E-04 | 4.741E-03 | 2.031E-04
Take1 and Take2, there ware some clouds covered the sun.
Only Take3 was measured under clear sky.

## Slide 26: Response Functions of SW (Log scale)
Take1 10:30-10:59 Slightly cloudy weather.
Take2 14:26-14:51 Mottled clouds around the sun.
Take3 17:20-17:49 Clear sky

## Slide 27: SVA measurement for CHIBA Campaign 2017
Data was taken at 2017-07-21
Hiroshi OKAMOTO

## Slide 28: Condition
Take1 10:54-11:23 Clouds passed and covered the sun.
Take2 14:43-15:12 Clouds covered the sun.

## Slide 29: Result
WL(nm) | Take1 | Take2 | Take3
315 | 2.416E-04 | 4.370E-04 | 2.454E-04
340 | 2.392E-04 | 1.641E-04 | 2.426E-04
380 | 2.429E-04 | 2.219E-04 | 2.410E-04
400 | 2.412E-04 | 4.819E-04 | 2.396E-04
500 | 2.395E-04 | 1.487E-04 | 2.369E-04
675 | 2.390E-04 | 6.497E-05 | 2.351E-04
870 | 2.400E-04 | 1.180E-04 | 2.366E-04
940 | 2.412E-04 | 1.867E-04 | 2.428E-04
1020 | 2.416E-04 | 1.713E-04 | 2.423E-04
1627 | 1.869E-04 | 1.552E-04 | 2.063E-04
2200 | 1.965E-04 | 4.741E-03 | 2.031E-04
Take1 and Take2, there ware some clouds covered the sun.
Only Take3 was measured under clear sky.

## Slide 30: Response Functions of SW (Log scale)
Take1 10:30-10:59 Slightly cloudy weather.
Take2 14:26-14:51 Mottled clouds around the sun.
Take3 17:20-17:49 Clear sky

## Slide 31: SVA measurement for CHIBA Campaign 2017
Data was taken at 2017-07-24
Hiroshi OKAMOTO

## Slide 32: Condition
Take1 10:03-10:32 Cloud covered the sun .
Take2 13:38-14:07 Mottled cloud covered the sun.

## Slide 33: Result
WL(nm) | Take1 | Take2
315 | 3.234E-04 | 2.770E-04
340 | 3.889E-04 | 2.416E-04
380 | 2.745E-04 | 3.152E-04
400 | 6.525E-04 | 3.027E-04
500 | 5.934E-04 | 2.962E-04
675 | 6.111E-04 | 3.335E-04
870 | 9.983E-04 | 3.266E-04
940 | 5.950E-03 | 3.166E-04
1020 | 2.749E-04 | 3.072E-04
1627 | 2.381E-04 | 2.725E-04
2200 | 2.355E-04 | 2.904E-04

## Slide 34: Response Functions of SW(log scale)
Take1
Take2

## Slide 35: Response Functions of LW(log scale)
Linier scale
Log scale